## Slide 1
Heat recovery units. Reneo range.
2023

## Slide 2
Reneo S 350
blauberg-group.com
Max Air Flow – 410 m3/h
Sound pressure level, 3m (ref. point) – 26 dB(A)
Max. power – 213 W
SPI (ref. point) – 0,26 W/(m3/h)
Version with in-built electric pre-heater available
Recovery efficiency up to 92 %
Enthalpy modification available (S 350-E units)
S14 / S21 Control system

## Slide 3
Reneo S 351
blauberg-group.com
Units with flat front panel, suitable for mounting of decorative panel.

## Slide 4
EP-Reneo S 351
blauberg-group.com
Units with flat front panel, suitable for mounting of decorative panel.

## Slide 5
Technical parameters. Airflow.
blauberg-group.com
Chart: Reneo S 350
| 410 | 387 | 360 | 318 | 282 | 259 | 223 | 192 | 153 | 114 | 5
100% | 0 | 45 | 100 | 174 | 219 | 237 | 271 | 294 | 314 | 336 | 382
70% | 0 | 50 | 76 | 95 | 108 | 120 | 133 | 143 | 153 | 166 | 175
Duct1 | 100 | 69 | 44 | 25 | 11 | 3 | 0
Duct2 | 200 | 139 | 89 | 50 | 22 | 6 | 0
Duct3 | 300 | 208 | 133 | 75 | 33 | 8 | 0
SFP 0,6 W/l/s | 35 | 40 | 53 | 54 | 53 | 3
SFP 0,8 W/l/s | 0 | 0 | 0 | 62 | 72 | 80 | 4
SFP 1,0 W/l/s | 0 | 0 | 0 | 0 | 78 | 105 | 108 | 15
SFP 1,2 W/l/s | 0 | 0 | 0 | 0 | 82 | 114 | 139 | 127 | 28
SFP 1,4 W/l/s | 0 | 0 | 0 | 0 | 0 | 118 | 148 | 172 | 119 | 85
SFP 1,6 W/l/s | 0 | 0 | 0 | 0 | 0 | 121 | 154 | 183 | 206 | 200 | 180
SFP 1,8 W/l/s | 0 | 0 | 0 | 0 | 0 | 0 | 157 | 191 | 218 | 227 | 219

## Slide 6
Technical parameters. Noise level.
blauberg-group.com
Reference point, 70 % 50 Pa |  | 
Sound Power level, A-weighted dB(A) |  | 46
Sound pressure level, 1m, dB(A) |  | 35
Sound pressure level, 3m, dB(A) |  | 26
Max Speed, 100 % 0 Pa |  | 
Sound Power level, A-weighted dB(A) |  | 55
Sound pressure level, 1m, dB(A) |  | 45
Sound pressure level, 3m, dB(A) |  | 36
Reneo S 350

## Slide 7
Thermal efficiency.
blauberg-group.com
 |  |  | MIN Speed | MED Speed | MAX Speed
Thermal efficiency, according to EN 13141-7 |  |  | 93% | 90% | 86%
 |  |  | MIN Speed | MED Speed | MAX Speed
Thermal efficiency, according to EN 13141-7 |  |  | 83% | 81% | 79%
Humidity recovery efficiency |  |  | 78% | 67% | 61%
Reneo S 350
Reneo S 350-E

## Slide 8
Dimensions.
blauberg-group.com

## Slide 9
S14 control system
blauberg-group.com
Glass Control Panel
Speed selection
Filter replacement indication
Manual by-pass
Optional humidity control (via additional sensor)
Optional CO2 control (via additional sensor)
Fire alarm sensor connection

## Slide 10
S21. Advanced Control System.

## Slide 11
S21. Control Interfaces.
Glass panels S22 / S22 Wifi
Sensor display S25
Smartphone application

## Slide 12
S21. Air quality control.
Humidistat HR-S
Temperature sensor in S25 panel
CO2 sensor CD-1
VOC sensor

## Slide 13
S21. Connections and utility.
Internet connection via LAN or Wi-Fi
BMS connection via RS-485, Wi-Fi or LAN
Communication protocol – ModBus
Reheater, pre-heater and cooler connection
Condensing unit connection
Connection to Blauberg Cloud Server
All connections are pre-installed, no additional connectors are needed.

## Slide 15
Range of application
blauberg-group.com
Apartments

## Slide 16
Range of application
blauberg-group.com
Apartments
Cottages
Single-family houses

## Slide 17
blauberg-group.com
2022
Notes: Dear colleagues, thank you very much for your attention, please send your enquires to our sales department, visit our stand on ISH, for more information about our assortment, solutions and selection software, please, visit our web-site. Good bye and see you soon.